## Install on Windows
- Installation package of Pro.Monitor is an executable file that you can download from our repository
- The different install options are described below
### Install with WIZARD
- Execute the Pro.Monitor installer without any option to start the wizard, then follow the instructions:
  - Port number: Defines the port from which the application web portal will be accessible. Make sure it is not used by another application.
  - Super admin credentials: Defines admin credentials that will always be available for connecting to the application
  - Distant DB server: By default, Pro.Monitor will use its own internal database which will be sufficient in any cases. However, it is possible to use an external database.
  - DB settings: If you activated distant DB server, you will have to set the DB connection settings (only MSSQL and MYSQL available)
- Once all parameters are set, you will reach a screen to start the installation. Press Install
- When the installation is over, a confirmation screen will be displayed
- Pro.Monitor will be installed as a service
- Few seconds later, the application will be running and reachable at http://localhost:8888 (by default)
### SILENT installer
- Execute the Pro.Monitor installer with /SILENT option to install Pro.Monitor directly with the default settings. An application popup will still be displayed for showing installation progresses and results.
- Execute the Pro.Monitor installer with /VERYSILENT option to install Pro.Monitor without any interaction at all.
- Few seconds later, the application will be running and reachable at http://localhost:8888 (by default)
### Default settings
- Application portal port: 8888 for HTTP and 8443 for HTTPS
- Installation directory path: C:\Program Files (x86)\Agentil
- Admin credentials: admin/admin
- Local DB
- Runs as windows service named: Pro_Monitor
### Upgrade Pro.Monitor from V6.6.4 and older
- Perform a configuration snapshot (recommended)
- Stop Pro.Monitor service
- Rename [Install_path]\db\uiweb folder to uiweb.old
- Wait 5 minutes that all monitoring processes are over
- Follow the same steps than for the first installation, the installer will detect that you are doing an upgrade.
- The service will restart automatically
- Once the service is back online, log in and apply your last snapshot
### Upgrade Pro.Monitor from a V6.7 base
- Perform a configuration snapshot (recommended)
- Stop Pro.Monitor service
- Wait 5 minutes that all monitoring processes are over
- Follow the same steps than for the first installation, the installer will detect that you are doing an upgrade.
- The service will restart automatically