# Update menu
## Purpose
- You can update server and agent application from the web interface.
- This allows to update the application remotely without having access to the OS layer.
- Remote agents attached to the server can be updated too with the uploaded package.
- An OS updater is available if necessary.
From this menu you can:
- Upload and install software updates
- Configure update settings for agents

## Update of Pro.Monitor server
- Download the update package provided by Agentil Software (zip file)
- Use the Import new version button to select the update file in your local file system and upload it.
- Once uploaded the package will be listed in the table, showing its version
- Press Install to start installing the update, wait for the confirmation screen acknowledging its success
- To complete installation, you must restart Pro.Monitor. Go the Maintenance tab on the left and press Restart.
Note: The actual installation happens during restart. If you install an update without restarting, this will not affect the software in place.
Caution: Downgrading Pro.Monitor is not possible
## Configuration for remote agents update
In the configuration panel, you can define the update settings for the remote agents:
- Stop update if too many errors: If active, the agent update loop will stop automaticaly
- Max update errors: The max number of errors before stoping the update loop
- Max download failures: The max number of retries an agent can do for downloading a new package
- Max install errors: The max number of retries an agent can do for installing a new package
- Update mode: Define if all agent will update one after the other or all at once