# SAP users
The goal of this monitor is to follow the amount of connections on each application server
and to detect when the number of connected users is above a threshold.
you can differentiate interactive, RFC and plugin users and
apply specific threshold for a given application server.
## Configuration hints
- The surveillance table allows to easily define how you want to monitor the users.
- You can create several rules by adding any new line in the table and use the filter to target specific conditions.
- Threshold and severity can be adapted for a specific type of user or for a specific application server.
- If you set 0 as threshold for a given type of user, it will be ignored.
## Configuration
- Send metrics:
  - If enabled, the monitor will send application logs metrics (See metrics table below)
- Use new collection method
  - If enabled, the monitor will use a new function module to collect use information
### Surveillance table
Parameter	Description
Active	Use this field to activate or deactivate a line of configuration.
Instance	A filter to match only a subset of instances.
Max active users	Sets the threshold for the total number of connection (sums interactive, RFC and plugin)
Max interactive users	The threshold for interactive users.
Max RFC users	The threshold for RFC users.
Max Plugin users	The threshold for plugin users.
Severity	The level of severity of the alarm generated by this line of surveillance.
Auto clear	If checked, the alarm will be cleared as soon as the alarm condition is not met anymore.
Alarm tag	This field allows to add custom text within the alarm message. %MSG% variable will contain the actual generated message and can be used such as: “my_prefix %MSG% my_suffix”. By default, tag will be used as prefix.
Alarm	If checked, this line of surveillance will be used for alarm generation.
Metric	If checked, this line of surveillance will be used for metric generation.
Report	If checked, this line of surveillance will be used for report generation

#### Examples
Active	Instance	Max active users	Max interactive users	Max RFC users	Max Plugin users	Max user/dialog ratio	Max user/instance ratio	Severity	Auto clear	Alarm tag
true	*	100	50			WARNING	true		true	false

Effect : Generates a WARNING alarm if 100 or more users of any type are connected, or 50 or more interactive users connected.
## Examples
Active	Instance	Max active users	Max interactive users	Max RFC users	Max Plugin users	Max user/dialog ratio	Max user/instance ratio	Severity	Auto clear	Alarm tag
true	mysap_PRD_00		50			CRITICAL	true		true	false

Effect : Generates a CRITICAL alarm if 50 or more interactive users are connected to instance mysap_PRD_00
## Generated metrics
metricId	metricUnit	metricTarget	metricDescription
USERS_ACTIVE	Users	INSTANCE	The total number of user connection from any type, per application server and overall.
USERS_INTERACTIVE	Users	INSTANCE	The total number of interactive user connection from any type, per application server and overall
USERS_RFC	Users	INSTANCE	The total number of RFC user connections per application server